Rindge Building Department

30 Payson Hill Rd

Rindge NH 03461

Phone: 603-899-5181 Ex 109  Fax: 603-899-2101

buildingdept@town.rindge.nh.us

BUILDING PERMIT FAQ’s

- Is it allowable to build a structure on my parcel of land?

- You must have Rindge Planning Board approval – (Check with the Rindge Planning Office about land use and occupancy type)

- State RSA 229:5 requires a Class VI road waiver for any structure on Class VI and Private roads

- Is Zoning Board of Adjustment approval required?

- Building on a Class VI or Private Road

- Expansion of a non-conforming structure and/or parcel

- Conversion of a dwelling to another use (Fire Department Approval may also apply)

  - Seasonal to year round

  - Single family to two family or multi-family

  - Home based business

  - Contact Fire Department for commercial and multi-use occupancies

- Is a Site Review required?

- Contact the Rindge Planning Board

- Is a Building Permit Required?

Any owner or authorized agent who intends to erect, alter, expand, repair, relocate, demolish or change the occupancy of a building or structure in any district must apply and obtain a Building Permit from the Rindge Fire / Building Department.

Any owner or authorized agent who intends to install, modify, alter, repair, convert or replace any electrical, gas, mechanical or plumbing system and / or equipment or to cause any such work to be done, shall first make application to the building official and obtain the required permit.

* This section lists the types of work or installations of equipment or utilities that will require an owner or authorized agent to obtain permits, which are to be obtained before work begins. In general, a permit is required for all activities that are regulated by the code, and these activities cannot begin until the permit is issued.

V.         What work is exempt from permitting?

Permits shall not be required for the following. Exemption from permit requirements of the code shall not be deemed to grant authorization for any work to be done in any manner in violation of the provisions of this code or any other laws or ordinances of this jurisdiction.

Building:

- One-story detached accessory structures used as tool and storage sheds, playhouses (call on playhouses) and similar uses, provided the floor area does not exceed 25 square feet.

- Fences under 6-Feet

- Retaining walls that are not 4 feet in height measured from the bottom of the footing to the top of the wall, unless supporting a surcharge.

- Water tanks supported directly upon grade if the capacity does not exceed 5,000 gallons and the ratio of height to diameter or width does not exceed 2 to 1.

- Sidewalks

- Painting, papering, tiling, carpeting, cabinets, counter tops and similar finish work.

- Prefabricated swimming pools that are less than 24 inches deep. (May need Electrical Permit)

- Swings and other playground equipment.

- Windows awnings supported by an exterior wall which do not project more than 54 inches from the exterior wall and do not require additional support.

- Window replacement of equal or lesser size.

- Vinyl siding

- What Codes and Editions are enforced in Rindge?

All Occupancies (except one and two family dwellings):

- 2009 NFPA 1 Fire Code as amended by Saf-C 6000

- 2015 NFPA 101 Life Safety Code as amended by Saf-C 6000 and applicable referenced publications in Chapter 2

- 2015 NFPA 54 Fuel Gas Code as amended by Saf-C 6000

- 2014 NFPA 58 LP Gas Code as amended by Saf-C 6000

- 2013 NFPA 72 Fire Alarm Code

- 2010 NFPA 914 Fire Protection of Historic Structures

- 2013 NFPA 13/13R Sprinkler Code

- NFPA 30A Motor Fuel Dispensing Facilities and Repair Garages as amended by Saf-C 6000

- 2010 NFPA 52 Compressed Natural Gas (CNG)

- 2011 NFPA 31 Oil Burning Equipment as amended by Saf-C 6000

- 2013 NFPA 211 Chimneys, Fireplaces, Vents and Solid Fuel Burning Appliances

- 2009 NFPA 720 Carbon Monoxide Detection as amended by Saf-C 6000

- 2014 NFPA 96 Commercial Cooking Operations

- 2009 International Building Code (IBC) with NH Amendments

- 2009 International Energy Conservation Code (IEC) with NH Amendments

- 2009 International Existing Building Codes (IEBC) with NH Amendments

- 2009 International Mechanical Code (IMC) with NH Amendments

- 2009 International Plumbing Code (IPC) with NH Amendments

- 2017 National Electrical Code (NEC) with NH Amendments

- 20096 IBC Chapters 11 and 34 with NH Amendments, 2003 ANSI A117.1 and FHA/UFAS as applicable

One and Two Family Dwellings

- 2015 NFPA 101 Life Safety Code Chapter 24 as amended by Saf-C 6000 and applicable reference publications in Chapter 2

- 2015 NFPA 54 Fuel Gas Code as amended by Saf-C 6000

- 2014 NFPA 58 LP Gas Code as amended by Saf-C 6000

- 2011 NFPA 31 Oil Burning Equipment as amended by Saf-C 6000

- 2013 NFPA 211Chimneys, Fireplaces, Vents and Solid Fuel Burning Appliances

- 2009 NFPA 720 Carbon Monoxide Detection as amended by Saf-C 6000

- 2009 International Residential Code (IRC) with NH Amendments

- 2009 International Energy Conservation Code (IEC) with NH Amendments

- 2017 National Electrical Code (NEC) with NH Amendments